## cal2
Method: | Hadamard 1
Host Date-Time: | 21/4/26 @ 10:23:38
Header Version: | 1
System Temp (C): | 34.02
Detector Temp (C): | 0
Humidity (%): | 54.65
Lamp PD: | 251
Shift Vector Coefficients: | -1.38 | 0.018699 | -5.3954e-05
Pixel to Wavelength Coefficients: | 1761.96 | -0.9206 | -0.00023795
Serial Number: | C370376
Scan Config Name: | Hadamard 1
Scan Config Type: | Slew
Section 1
Start wavelength (nm): | 900
End wavelength (nm): | 1700
Pattern Pixel Width (nm): | 7.03
Exposure (ms): | 0.635
Digital Resolution: | 228
Num Repeats: | 6
PGA Gain: | 16
Total Measurement Time in sec: | 2.709
Wavelength (nm) | Absorbance (AU) | Reference Signal (unitless) | Sample Signal (unitless)
901.0601 | -0.006158 | 23247 | 23579
904.9312 | -0.002373 | 25183 | 25321
908.7981 | -0.003675 | 27065 | 27295
913.9473 | -0.002503 | 29931 | 30104
917.8041 | 0.003966 | 32778 | 32480
921.6567 | 0.00596 | 36243 | 35749
925.505 | 0.005566 | 40440 | 39925
929.349 | 0.00755 | 44968 | 44193
933.1888 | 0.008532 | 49348 | 48388
937.0242 | 0.003939 | 53379 | 52897
942.1315 | -0.000382 | 57953 | 58004
945.957 | 0.000128 | 60923 | 60905
949.7781 | -0.003002 | 63571 | 64012
953.595 | -0.001495 | 66109 | 66337
957.4076 | -0.004349 | 68659 | 69350
961.216 | -0.003582 | 71113 | 71702
965.02 | -0.003388 | 73415 | 73990
970.0854 | -0.003297 | 76645 | 77229
973.8795 | -0.004981 | 78968 | 79879
977.6692 | -0.004518 | 81195 | 82044
981.4547 | -0.004533 | 83291 | 84165
985.2359 | -0.00404 | 85174 | 85970
989.0128 | -0.006129 | 86894 | 88129
992.7855 | -0.005512 | 88555 | 89686
997.809 | -0.005853 | 90141 | 91364
1001.5716 | -0.005343 | 91440 | 92572
1005.33 | -0.006351 | 92522 | 93885
1009.0841 | -0.005143 | 93430 | 94543
1012.8338 | -0.005483 | 94051 | 95246
1016.5794 | -0.005457 | 94746 | 95944
1020.3206 | -0.006132 | 95358 | 96714
1025.3022 | -0.005952 | 95869 | 97192
1029.0334 | -0.006257 | 96126 | 97521
1032.7604 | -0.006765 | 96433 | 97947
1036.4831 | -0.007534 | 96638 | 98329
1040.2014 | -0.007533 | 96813 | 98507
1043.9155 | -0.007587 | 97091 | 98802
1047.6253 | -0.006506 | 97918 | 99396
1052.5651 | -0.006975 | 99561 | 101173
1056.2649 | -0.006177 | 101161 | 102610
1059.9605 | -0.005435 | 102835 | 104130
1063.6517 | -0.005667 | 103545 | 104905
1067.3387 | -0.007272 | 102699 | 104433
1071.0214 | -0.008844 | 101444 | 103531
1074.6998 | -0.006765 | 100894 | 102478
1079.5976 | -0.006276 | 101061 | 102532
1083.2661 | -0.007011 | 101445 | 103096
1086.9302 | -0.005742 | 101952 | 103309
1090.59 | -0.00742 | 102536 | 104303
1094.2456 | -0.005856 | 103353 | 104756
1097.8969 | -0.006145 | 103992 | 105474
1101.5439 | -0.005852 | 104826 | 106248
1106.3999 | -0.004937 | 105759 | 106968
1110.0369 | -0.005574 | 106528 | 107904
1113.6696 | -0.005679 | 107424 | 108838
1117.298 | -0.005027 | 108132 | 109391
1120.9222 | -0.005899 | 108875 | 110364
1124.542 | -0.006148 | 109763 | 111328
1128.1576 | -0.00661 | 110449 | 112143
1132.9717 | -0.005599 | 111433 | 112879
1136.5773 | -0.006588 | 112195 | 113910
1140.1786 | -0.006287 | 113016 | 114664
1143.7757 | -0.00626 | 113721 | 115372
1147.3684 | -0.005963 | 114427 | 116009
1150.9568 | -0.006036 | 115327 | 116941
1154.541 | -0.005897 | 116233 | 117822
1159.3133 | -0.006034 | 117298 | 118939
1162.8874 | -0.005351 | 118180 | 119645
1166.4573 | -0.005129 | 119275 | 120692
1170.0229 | -0.006475 | 120307 | 122114
1173.5843 | -0.007038 | 121319 | 123301
1177.1413 | -0.006076 | 122443 | 124168
1180.6941 | -0.006153 | 123635 | 125399
1185.4244 | -0.006565 | 125471 | 127382
1188.9672 | -0.005215 | 126812 | 128344
1192.5057 | -0.005754 | 128285 | 129996
1196.0399 | -0.006326 | 129836 | 131741
1199.5698 | -0.00656 | 131273 | 133271
1203.0955 | -0.005623 | 132828 | 134559
1206.6168 | -0.006268 | 134474 | 136429
1211.3053 | -0.005734 | 136778 | 138596
1214.8167 | -0.004738 | 138389 | 139907
1218.3237 | -0.005093 | 140120 | 141773
1221.8265 | -0.005909 | 141899 | 143843
1225.325 | -0.005134 | 143618 | 145326
1228.8193 | -0.004478 | 145401 | 146908
1232.3092 | -0.005676 | 147171 | 149107
1235.7949 | -0.005578 | 149075 | 151002
1240.4358 | -0.004837 | 151155 | 152848
1243.9114 | -0.005376 | 152376 | 154274
1247.3828 | -0.005049 | 153423 | 155217
1250.8499 | -0.004666 | 154506 | 156175
1254.3127 | -0.004146 | 155559 | 157051
1257.7713 | -0.004494 | 156503 | 158131
1261.2255 | -0.003106 | 157600 | 158731
1265.8245 | -0.004303 | 159090 | 160674
1269.2688 | -0.004148 | 160064 | 161600
1272.7088 | -0.003741 | 161348 | 162744
1276.1444 | -0.004052 | 162465 | 163988
1279.5758 | -0.00435 | 163605 | 165252
1283.003 | -0.005054 | 164632 | 166559
1286.4258 | -0.00406 | 165675 | 167231
1290.9829 | -0.00527 | 167026 | 169065
1294.3958 | -0.004878 | 168030 | 169928
1297.8044 | -0.003744 | 168862 | 170324
1301.2086 | -0.004228 | 169596 | 171255
1304.6086 | -0.003971 | 170366 | 171931
1308.0043 | -0.00406 | 171092 | 172699
1311.3958 | -0.003751 | 171754 | 173244
1315.911 | -0.004133 | 172558 | 174208
1319.2925 | -0.004416 | 173193 | 174963
1322.6696 | -0.004096 | 173806 | 175453
1326.0425 | -0.004155 | 174136 | 175810
1329.4111 | -0.003962 | 174468 | 176067
1332.7754 | -0.003775 | 174819 | 176345
1336.1354 | -0.003828 | 175079 | 176629
1340.6088 | -0.003421 | 175243 | 176629
1343.9588 | -0.003888 | 175365 | 176942
1347.3045 | -0.003358 | 175326 | 176687
1350.646 | -0.003799 | 175159 | 176698
1353.9832 | -0.003672 | 174656 | 176139
1357.3161 | -0.003383 | 174438 | 175802
1360.6447 | -0.003062 | 174151 | 175383
1365.0762 | -0.003118 | 174015 | 175269
1368.3948 | -0.003872 | 173971 | 175529
1371.7091 | -0.003223 | 174110 | 175407
1375.0192 | -0.003791 | 173955 | 175480
1378.3249 | -0.002642 | 173386 | 174444
1381.6264 | -0.003193 | 172660 | 173934
1384.9236 | -0.004026 | 172108 | 173711
1389.3132 | -0.003962 | 171299 | 172869
1392.6004 | -0.003245 | 170154 | 171430
1395.8834 | -0.003423 | 168844 | 170180
1399.162 | -0.003016 | 167774 | 168943
1402.4364 | -0.003178 | 166915 | 168141
1405.7064 | -0.003219 | 166155 | 167391
1408.9722 | -0.002757 | 165526 | 166580
1413.3199 | -0.002284 | 164979 | 165849
1416.5757 | -0.003457 | 164681 | 165997
1419.8273 | -0.003136 | 164358 | 165549
1423.0745 | -0.003211 | 164129 | 165347
1426.3174 | -0.003496 | 163957 | 165282
1429.5561 | -0.00296 | 163904 | 165025
1432.7905 | -0.002172 | 163715 | 164536
1437.0963 | -0.003508 | 163395 | 164720
1440.3207 | -0.003532 | 163491 | 164826
1443.5408 | -0.003043 | 163415 | 164564
1446.7566 | -0.003267 | 163167 | 164399
1449.9682 | -0.002777 | 162931 | 163976
1453.1754 | -0.003522 | 162700 | 164025
1456.3784 | -0.002578 | 162426 | 163393
1460.6424 | -0.002827 | 161674 | 162730
1463.8354 | -0.002749 | 161104 | 162127
1467.024 | -0.00282 | 160553 | 161599
1470.2085 | -0.002651 | 159881 | 160860
1473.3886 | -0.002441 | 158978 | 159874
1476.5644 | -0.003727 | 158141 | 159504
1479.736 | -0.002412 | 157290 | 158166
1483.9581 | -0.002479 | 156195 | 157089
1487.1196 | -0.002689 | 155187 | 156151
1490.2769 | -0.002335 | 154133 | 154964
1493.4299 | -0.00145 | 153069 | 153581
1496.5786 | -0.001995 | 152002 | 152702
1499.7231 | -0.00288 | 150735 | 151738
1502.8632 | -0.00311 | 149435 | 150509
1507.0434 | -0.003316 | 147843 | 148976
1510.1736 | -0.002767 | 146450 | 147386
1513.2995 | -0.004138 | 144876 | 146263
1516.4211 | -0.005687 | 143225 | 145113
1519.5384 | -0.004782 | 141968 | 143540
1522.6514 | -0.004877 | 140435 | 142021
1525.7601 | -0.004333 | 138728 | 140119
1529.8985 | -0.004856 | 136425 | 137959
1532.9972 | -0.003692 | 134715 | 135865
1536.0917 | -0.003665 | 132871 | 133997
1539.1819 | -0.003507 | 130872 | 131933
1542.2678 | -0.002442 | 129097 | 129825
1545.3494 | -0.003781 | 127166 | 128278
1548.4267 | -0.002283 | 125208 | 125868
1552.5231 | -0.002497 | 122438 | 123144
1555.5905 | -0.001791 | 120521 | 121019
1558.6535 | -0.001685 | 118558 | 119019
1561.7123 | -0.001849 | 116494 | 116991
1564.7668 | -0.001844 | 114442 | 114929
1567.817 | -0.002223 | 112418 | 112995
1570.8629 | -0.001854 | 110301 | 110773
1574.9175 | -0.003222 | 107424 | 108224
1577.9534 | -0.003156 | 105313 | 106081
1580.9851 | -0.004858 | 103117 | 104277
1584.0124 | -0.003536 | 101037 | 101863
1587.0355 | -0.0051 | 98795 | 99962
1590.0543 | -0.005022 | 96640 | 97764
1593.0688 | -0.004447 | 94442 | 95414
1597.0815 | -0.006382 | 91600 | 92956
1600.086 | -0.005387 | 89416 | 90532
1603.0862 | -0.003291 | 87300 | 87964
1606.0822 | -0.005229 | 85191 | 86223
1609.0739 | -0.005611 | 83059 | 84139
1612.0612 | -0.004358 | 80807 | 81622
1615.0443 | -0.00618 | 78708 | 79836
1619.0152 | -0.006145 | 75936 | 77018
1621.9883 | -0.005298 | 73811 | 74717
1624.9571 | -0.006049 | 71656 | 72661
1627.9216 | -0.006529 | 69715 | 70771
1630.8819 | -0.005499 | 67648 | 68510
1633.8379 | -0.008307 | 65502 | 66767
1636.7896 | -0.006983 | 63485 | 64514
1639.737 | -0.009359 | 61512 | 62852
1643.6602 | -0.008229 | 58972 | 60100
1646.5976 | -0.009955 | 56971 | 58292
1649.5307 | -0.010881 | 55026 | 56422
1652.4596 | -0.009876 | 53086 | 54307
1655.3841 | -0.016194 | 50984 | 52921
1658.3044 | -0.01809 | 48784 | 50859
1661.2204 | -0.025528 | 46331 | 49136
1665.1018 | -0.033821 | 42574 | 46022
1668.0078 | -0.045391 | 39202 | 43521
1670.9095 | -0.058467 | 35668 | 40808
1673.8069 | -0.074936 | 31849 | 37847
1676.7001 | -0.092765 | 27943 | 34597
1679.5889 | -0.10934 | 24170 | 31090
1682.4735 | -0.12342 | 20655 | 27444
1686.313 | -0.1286 | 16662 | 22404
1689.1876 | -0.13468 | 14123 | 19258
1692.0579 | -0.13426 | 12008 | 16358
1694.9239 | -0.13398 | 10197 | 13882
1697.7857 | -0.13995 | 8708 | 12019
1700.6431 | -0.13345 | 7478 | 10168